## Sheet1
Channels | Desc | Units | PkFltM1Ant | PkFltM2Tel | PkFltM3Sci | PQube3
EaDel | Delivered Energy A | kWh | EaDel@2017-10-29T081007Z@PT23H@PT142F.nc | EaDel@2017-10-29T082008Z@PT23H@PT141F.nc | EaDel@2017-10-29T083011Z@PT23H@PT141F.nc | EaDel@2017-10-29T080006Z@PT23H@PT151F.nc
EbDel | Delivered Energy B | kWh | EbDel@2017-10-29T081007Z@PT23H@PT142F.nc | EbDel@2017-10-29T082008Z@PT23H@PT141F.nc | EbDel@2017-10-29T083011Z@PT23H@PT141F.nc | EbDel@2017-10-29T080006Z@PT23H@PT151F.nc
EcDel | Delivered Energy C | kWh | EcDel@2017-10-29T081007Z@PT23H@PT142F.nc | EcDel@2017-10-29T082008Z@PT23H@PT141F.nc | EcDel@2017-10-29T083011Z@PT23H@PT141F.nc | EcDel@2017-10-29T080006Z@PT23H@PT151F.nc
EDelTot | Total Delivered Energy | kWh | EDelTot@2017-10-29T081007Z@PT23H@PT142F.nc | EDelTot@2017-10-29T082008Z@PT23H@PT141F.nc | EDelTot@2017-10-29T083011Z@PT23H@PT141F.nc | EDelTot@2017-10-29T080006Z@PT23H@PT151F.nc
EaNetTot | Net Total Energy A | kWh | EaNetTot@2017-10-29T081007Z@PT23H@PT142F.nc | EaNetTot@2017-10-29T082008Z@PT23H@PT141F.nc | EaNetTot@2017-10-29T083011Z@PT23H@PT141F.nc | EaNetTot@2017-10-29T080006Z@PT23H@PT151F.nc
EbNetTot | Net Total Energy B | kWh | EbNetTot@2017-10-29T081007Z@PT23H@PT142F.nc | EbNetTot@2017-10-29T082008Z@PT23H@PT141F.nc | EbNetTot@2017-10-29T083011Z@PT23H@PT141F.nc | EbNetTot@2017-10-29T080006Z@PT23H@PT151F.nc
EcNetTot | Net Total Energy C | kWh | EcNetTot@2017-10-29T081007Z@PT23H@PT142F.nc | EcNetTot@2017-10-29T082008Z@PT23H@PT141F.nc | EcNetTot@2017-10-29T083011Z@PT23H@PT141F.nc | EcNetTot@2017-10-29T080006Z@PT23H@PT151F.nc
ENetTot | Total Net Energy | kWh | ENetTot@2017-10-29T081007Z@PT23H@PT142F.nc | ENetTot@2017-10-29T082008Z@PT23H@PT141F.nc | ENetTot@2017-10-29T083011Z@PT23H@PT141F.nc | ENetTot@2017-10-29T080006Z@PT23H@PT151F.nc
EapaTot | Apparent Energy A | kVAh | EapaTot@2017-10-29T081007Z@PT23H@PT142F.nc | EapaTot@2017-10-29T082008Z@PT23H@PT141F.nc | EapaTot@2017-10-29T083011Z@PT23H@PT141F.nc | EapaTot@2017-10-29T080006Z@PT23H@PT151F.nc
EapbTot | Apparent Energy B | kVAh | EapbTot@2017-10-29T081007Z@PT23H@PT142F.nc | EapbTot@2017-10-29T082008Z@PT23H@PT141F.nc | EapbTot@2017-10-29T083011Z@PT23H@PT141F.nc | EapbTot@2017-10-29T080006Z@PT23H@PT151F.nc
EapcTot | Apparent Energy C | kVAh | EapcTot@2017-10-29T081007Z@PT23H@PT142F.nc | EapcTot@2017-10-29T082008Z@PT23H@PT141F.nc | EapcTot@2017-10-29T083011Z@PT23H@PT141F.nc | EapcTot@2017-10-29T080006Z@PT23H@PT151F.nc
EapTot | Total Apparent Energy | kVAh | EapTot@2017-10-29T081007Z@PT23H@PT142F.nc | EapTot@2017-10-29T082008Z@PT23H@PT141F.nc | EapTot@2017-10-29T083011Z@PT23H@PT141F.nc | EapTot@2017-10-29T080006Z@PT23H@PT151F.nc
EaRec | Received Energy A / Import Energy A | kWh | EaRec@2017-10-29T081007Z@PT23H@PT142F.nc | EaRec@2017-10-29T082007Z@PT23H@PT141F.nc | EaRec@2017-10-29T083011Z@PT23H@PT141F.nc | EaRec@2017-10-29T080006Z@PT23H@PT151F.nc
EbRec | Received Energy B / Import Energy B | kWh | EbRec@2017-10-29T081007Z@PT23H@PT142F.nc | EbRec@2017-10-29T082007Z@PT23H@PT141F.nc | EbRec@2017-10-29T083011Z@PT23H@PT141F.nc | EbRec@2017-10-29T080006Z@PT23H@PT151F.nc
EcRec | Received Energy C / Import Energy C | kWh | EcRec@2017-10-29T081007Z@PT23H@PT142F.nc | EcRec@2017-10-29T082007Z@PT23H@PT141F.nc | EcRec@2017-10-29T083011Z@PT23H@PT141F.nc | EcRec@2017-10-29T080006Z@PT23H@PT151F.nc
ERecTot | Total Received Energy / Total Import Energy | kWh | ERecTot@2017-10-29T081007Z@PT23H@PT142F.nc | ERecTot@2017-10-29T082007Z@PT23H@PT141F.nc | ERecTot@2017-10-29T083011Z@PT23H@PT141F.nc | ERecTot@2017-10-29T080006Z@PT23H@PT151F.nc
EreNegTot | Total Capacitive Energy | kVARh | EreNegTot@2017-10-29T081007Z@PT23H@PT142F.nc | EreNegTot@2017-10-29T082008Z@PT23H@PT141F.nc | EreNegTot@2017-10-29T083011Z@PT23H@PT141F.nc | EreNegTot@2017-10-29T080006Z@PT23H@PT151F.nc
ErePosTot | Total Inductive Energy | kVARh | ErePosTot@2017-10-29T081007Z@PT23H@PT142F.nc | ErePosTot@2017-10-29T082008Z@PT23H@PT141F.nc | ErePosTot@2017-10-29T083011Z@PT23H@PT141F.nc | ErePosTot@2017-10-29T080006Z@PT23H@PT151F.nc
F | Frequency | Hz | F@2017-10-29T081007Z@PT23H@PT142F.nc | F@2017-10-29T082007Z@PT23H@PT141F.nc | F@2017-10-29T083011Z@PT23H@PT141F.nc | F@2017-10-29T080006Z@PT23H@PT151F.nc
Ia | Current A | A | Ia@2017-10-29T081007Z@PT23H@PT142F.nc | Ia@2017-10-29T082007Z@PT23H@PT141F.nc | Ia@2017-10-29T083011Z@PT23H@PT141F.nc | Ia@2017-10-29T080006Z@PT23H@PT151F.nc
Ib | Current B | A | Ib@2017-10-29T081007Z@PT23H@PT142F.nc | Ib@2017-10-29T082007Z@PT23H@PT141F.nc | Ib@2017-10-29T083011Z@PT23H@PT141F.nc | Ib@2017-10-29T080006Z@PT23H@PT151F.nc
Ic | Current C | A | Ic@2017-10-29T081007Z@PT23H@PT142F.nc | Ic@2017-10-29T082007Z@PT23H@PT141F.nc | Ic@2017-10-29T083011Z@PT23H@PT141F.nc | Ic@2017-10-29T080006Z@PT23H@PT151F.nc
IMean | Current Mean | A | IMean@2017-10-29T081007Z@PT23H@PT142F.nc | IMean@2017-10-29T082007Z@PT23H@PT141F.nc | IMean@2017-10-29T083011Z@PT23H@PT141F.nc | Pa@2017-10-29T080006Z@PT23H@PT151F.nc
Pa | Active Power A | kW | Pa@2017-10-29T081007Z@PT23H@PT142F.nc | Pa@2017-10-29T082007Z@PT23H@PT141F.nc | Pa@2017-10-29T083011Z@PT23H@PT141F.nc | Pb@2017-10-29T080006Z@PT23H@PT151F.nc
Pb | Active Power B | kW | Pb@2017-10-29T081007Z@PT23H@PT142F.nc | Pb@2017-10-29T082007Z@PT23H@PT141F.nc | Pb@2017-10-29T083011Z@PT23H@PT141F.nc | Pc@2017-10-29T080006Z@PT23H@PT151F.nc
Pc | Active Power C | kW | Pc@2017-10-29T081007Z@PT23H@PT142F.nc | Pc@2017-10-29T082007Z@PT23H@PT141F.nc | Pc@2017-10-29T083011Z@PT23H@PT141F.nc | Pfa@2017-10-29T080006Z@PT23H@PT151F.nc
PTot | Active Power Total | kW | PTot@2017-10-29T081007Z@PT23H@PT142F.nc | PTot@2017-10-29T082007Z@PT23H@PT141F.nc | PTot@2017-10-29T083011Z@PT23H@PT141F.nc | PTot@2017-10-29T080006Z@PT23H@PT151F.nc
Pfa | Power Factor A | n/a | Pfa@2017-10-29T081007Z@PT23H@PT142F.nc | Pfa@2017-10-29T082007Z@PT23H@PT141F.nc | Pfa@2017-10-29T083011Z@PT23H@PT141F.nc | Pfb@2017-10-29T080006Z@PT23H@PT151F.nc
Pfb | Power Factor B | n/a | Pfb@2017-10-29T081007Z@PT23H@PT142F.nc | Pfb@2017-10-29T082007Z@PT23H@PT141F.nc | Pfb@2017-10-29T083011Z@PT23H@PT141F.nc | Pfc@2017-10-29T080006Z@PT23H@PT151F.nc
Pfc | Power Factor C | n/a | Pfc@2017-10-29T081007Z@PT23H@PT142F.nc | Pfc@2017-10-29T082007Z@PT23H@PT141F.nc | Pfc@2017-10-29T083011Z@PT23H@PT141F.nc | PfTot@2017-10-29T080006Z@PT23H@PT151F.nc
PfTot | Power Factor Total | n/a | PfTot@2017-10-29T081007Z@PT23H@PT142F.nc | PfTot@2017-10-29T082007Z@PT23H@PT141F.nc | PfTot@2017-10-29T083011Z@PT23H@PT141F.nc | PPeak@2017-10-29T080006Z@PT23H@PT151F.nc
Qa | Reactive Power A | kVAR | Qa@2017-10-29T081007Z@PT23H@PT142F.nc | Qa@2017-10-29T082007Z@PT23H@PT141F.nc | Qa@2017-10-29T083011Z@PT23H@PT141F.nc | Qa@2017-10-29T080006Z@PT23H@PT151F.nc
Qb | Reactive Power B | kVAR | Qb@2017-10-29T081007Z@PT23H@PT142F.nc | Qb@2017-10-29T082007Z@PT23H@PT141F.nc | Qb@2017-10-29T083011Z@PT23H@PT141F.nc | Qb@2017-10-29T080006Z@PT23H@PT151F.nc
Qc | Reactive Power C | kVAR | Qc@2017-10-29T081007Z@PT23H@PT142F.nc | Qc@2017-10-29T082007Z@PT23H@PT141F.nc | Qc@2017-10-29T083011Z@PT23H@PT141F.nc | Qc@2017-10-29T080006Z@PT23H@PT151F.nc
QTot | Reactive Power Total | kVAR | QTot@2017-10-29T081007Z@PT23H@PT142F.nc | QTot@2017-10-29T082007Z@PT23H@PT141F.nc | QTot@2017-10-29T083011Z@PT23H@PT141F.nc | QTot@2017-10-29T080006Z@PT23H@PT151F.nc
Sa | Apparent Power A | kVA | Sa@2017-10-29T081007Z@PT23H@PT142F.nc | Sa@2017-10-29T082007Z@PT23H@PT141F.nc | Sa@2017-10-29T083011Z@PT23H@PT141F.nc | Sa@2017-10-29T080006Z@PT23H@PT151F.nc
Sb | Apparent Power B | kVA | Sb@2017-10-29T081007Z@PT23H@PT142F.nc | Sb@2017-10-29T082007Z@PT23H@PT141F.nc | Sb@2017-10-29T083011Z@PT23H@PT141F.nc | Sb@2017-10-29T080006Z@PT23H@PT151F.nc
Sc | Apparent Power C | kVA | Sc@2017-10-29T081007Z@PT23H@PT142F.nc | Sc@2017-10-29T082007Z@PT23H@PT141F.nc | Sc@2017-10-29T083011Z@PT23H@PT141F.nc | Sc@2017-10-29T080006Z@PT23H@PT151F.nc
STot | Apparent Power Total | kVA | STot@2017-10-29T081007Z@PT23H@PT142F.nc | STot@2017-10-29T082007Z@PT23H@PT141F.nc | STot@2017-10-29T083011Z@PT23H@PT141F.nc | STot@2017-10-29T080006Z@PT23H@PT151F.nc
SlidingWindowRealPowerDemand3Ph | (kW) is a 15 minute average of one minute windows. See SW Sub-Interval Length (60s) and SW Sub-Interval Count (15). |  | SlidingWindowRealPowerDemand3Ph@2017-10-29T081007Z@PT23H@PT142F.nc | SlidingWindowRealPowerDemand3Ph@2017-10-29T082007Z@PT23H@PT141F.nc | SlidingWindowRealPowerDemand3Ph@2017-10-29T083011Z@PT23H@PT141F.nc | SPeak@2017-10-29T080006Z@PT23H@PT151F.nc
Vab | Voltage A-B | V | Vab@2017-10-29T081007Z@PT23H@PT142F.nc | Vab@2017-10-29T082007Z@PT23H@PT141F.nc | Vab@2017-10-29T083011Z@PT23H@PT141F.nc | Vab@2017-10-29T080006Z@PT23H@PT151F.nc
Van | Voltage A-N | V | Van@2017-10-29T081007Z@PT23H@PT142F.nc | Van@2017-10-29T082007Z@PT23H@PT141F.nc | Van@2017-10-29T083011Z@PT23H@PT141F.nc | Van@2017-10-29T080006Z@PT23H@PT151F.nc
Vbc | Voltage B-C | V | Vbc@2017-10-29T081007Z@PT23H@PT142F.nc | Vbc@2017-10-29T082007Z@PT23H@PT141F.nc | Vbc@2017-10-29T083011Z@PT23H@PT141F.nc | Vbc@2017-10-29T080006Z@PT23H@PT151F.nc
Vbn | Voltage B-N | V | Vbn@2017-10-29T081007Z@PT23H@PT142F.nc | Vbn@2017-10-29T082007Z@PT23H@PT141F.nc | Vbn@2017-10-29T083011Z@PT23H@PT141F.nc | Vbn@2017-10-29T080006Z@PT23H@PT151F.nc
Vca | Voltage C-A | V | Vca@2017-10-29T081007Z@PT23H@PT142F.nc | Vca@2017-10-29T082007Z@PT23H@PT141F.nc | Vca@2017-10-29T083011Z@PT23H@PT141F.nc | Vca@2017-10-29T080006Z@PT23H@PT151F.nc
Vcn | Voltage C-N | V | Vcn@2017-10-29T081007Z@PT23H@PT142F.nc | Vcn@2017-10-29T082007Z@PT23H@PT141F.nc | Vcn@2017-10-29T083011Z@PT23H@PT141F.nc | Vcn@2017-10-29T080006Z@PT23H@PT151F.nc
VllMean | Average Voltage L-L | V | VllMean@2017-10-29T081007Z@PT23H@PT142F.nc | VllMean@2017-10-29T082007Z@PT23H@PT141F.nc | VllMean@2017-10-29T083011Z@PT23H@PT141F.nc
VlnMean | Average Voltage L-N | V | VlnMean@2017-10-29T081007Z@PT23H@PT142F.nc | VlnMean@2017-10-29T082007Z@PT23H@PT141F.nc | VlnMean@2017-10-29T083011Z@PT23H@PT141F.nc
* Channels in Electrical Supply Documentation Plan
Google Documentation:
https://docs.google.com/document/d/1BK5J2JizVlSarhRxDDllNT5OI1f9mxKZwplHZPASk9c/edit?usp=sharing