## WattsOnMk2
Description | Filename | Latitude | Longitude | AirportCode | PlaceName | UtilityName | StationName | Make | Model | SpecSheetURL | TypeOfMeasurement | Accuracy | Resolution | Units | DeviceRangeMax | DeviceRangeMin | DeviceInstallationDate | Type | TypeDescription | Make | Model | Year | DateInstalled | URLOfQAReport | URLOfDataLicense | DataProvider | QAProvider | CopyrightHolder | URI | time | value | SamplingRate | Scale | Offset | Units | RangeMax | RangeMin | TheoreticalRangeMax | TheoreticalRangeMin | ChannelName | OriginalChannelName | OriginalUnits | DailyMin | DailyMax | DailyMean | DailyStdDev | MonthlyMin | MonthlyMax | MonthlyMean | MonthlyStdDev | StartTime | Length | AUX_GroupType | AUX_Group | AUX_Description | AUX_LastSampleLabel
Total Active Power | PTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kW |  |  |  |  | FLOAT | 513 | kW | [10 empty] | Updated | Power | P(kW) | PTot(kW)
Total Reactive Power | QTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kvar |  |  |  |  | FLOAT | 515 | kvar | [10 empty] | Updated | Power | Q(kvar) | QTot(kvar)
Total Apparent Power | STot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVA |  |  |  |  | FLOAT | 517 | kVA | [10 empty] | Updated | Power | S(VA) | STot(kVA)
Average Voltage L-N | VlnMean | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.2% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 519 | V | [10 empty] | Average | Voltage | Vln(V) | VlnMean(V)
Average Voltage L-L | VllMean | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.3% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 521 | V | [10 empty] | Average | Voltage | Vll(V) | VllMean(V)
Average Current | IMean | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Current | 0.1% |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 523 | A | [10 empty] | Average | Current | I(A) | IMean(A)
Total Power Factor | PfTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | N/A | 0.2% |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 525 | N/A | [10 empty] | Updated | Power | Power Factor | PfTot
Frequency | F | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Frequency | 0.01% |  | Hz | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | Hz |  |  |  |  | FLOAT | 527 | Hz | [10 empty] | Updated | Power Quality | F(Hz) | F(Hz)
Sliding Window Real Power Demand (Total of phases) | SlidingWindowRealPowerDemand3Ph | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.002 |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kW |  |  |  |  | FLOAT | 599 | kW
Voltage A-N | Van | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.2% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 545 | V | [10 empty] | Updated | Voltage | Va(V) | Van(V)
Voltage B-N | Vbn | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.2% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 547 | V | [10 empty] | Updated | Voltage | Vb(V) | Vbn(V)
Voltage C-N | Vcn | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.2% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 549 | V | [10 empty] | Updated | Voltage | Vc(V) | Vcn(V)
Voltage A-B | Vab | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.3% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 551 | V | [10 empty] | Updated | Voltage | Vab(V) | Vab(V)
Voltage B-C | Vbc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.3% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 553 | V | [10 empty] | Updated | Voltage | Vbc(V) | Vbc(V)
Voltage A-C | Vca | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Voltage | 0.3% |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 555 | V | [10 empty] | Updated | Voltage | Vca(V) | Vca(V)
Current A | Ia | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Current | 0.1% |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 557 | A | [10 empty] | Updated | Current | Ia(A) | Ia(A)
Current B | Ib | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Current | 0.1% |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 559 | A | [10 empty] | Updated | Current | Ib(A) | Ib(A)
Current C | Ic | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Current | 0.1% |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 561 | A | [10 empty] | Updated | Current | Ic(A) | Ic(A)
Active Power A | Pa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kW |  |  |  |  | FLOAT | 563 | kW | [10 empty] | Updated | Power | Pa(kW) | Pa(kW)
Active Power B | Pb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kW |  |  |  |  | FLOAT | 565 | kW | [10 empty] | Updated | Power | Pb(kW) | Pb(kW)
Active Power C | Pc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kW |  |  |  |  | FLOAT | 567 | kW | [10 empty] | Updated | Power | Pc(kW) | Pc(kW)
Reactive Power A | Qa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kvar |  |  |  |  | FLOAT | 569 | kvar | [10 empty] | Updated | Power | Qa(kvar) | Qa(kvar)
Reactive Power B | Qb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kvar |  |  |  |  | FLOAT | 571 | kvar | [10 empty] | Updated | Power | Qb(kvar) | Qb(kvar)
Reactive Power C | Qc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kvar |  |  |  |  | FLOAT | 573 | kvar | [10 empty] | Updated | Power | Qc(kvar) | Qc(kvar)
Apparent Power A | Sa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVA |  |  |  |  | FLOAT | 575 | kVA | [10 empty] | Updated | Power | Sa(kW) | Sa(kVA)
Apparent Power B | Sb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVA |  |  |  |  | FLOAT | 577 | kVA | [10 empty] | Updated | Power | Sb(kW) | Sb(kVA)
Apparent Power C | Sc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Power | 0.2% |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVA |  |  |  |  | FLOAT | 579 | kVA | [10 empty] | Updated | Power | Sc(kW) | Sc(kVA)
Power Factor A | Pfa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | N/A | 0.2% |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 581 | N/A | [10 empty] | Updated | Power | Power Factor A | Pfa
Power Factor B | Pfb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | N/A | 0.2% |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 583 | N/A | [10 empty] | Updated | Power | Power Factor B | Pfb
Power Factor C | Pfc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | N/A | 0.2% |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 585 | N/A | [10 empty] | Updated | Power | Power Factor C | Pfc
Import Energy A | EaRec | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4909 | kWh | [10 empty] | Updated | Energy | Received Energy A | EaRec(KWh)
Import Energy B | EbRec | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4911 | kWh | [10 empty] | Updated | Energy | Received Energy B | EbRec(KWh)
Import Energy C | EcRec | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4913 | kWh | [10 empty] | Updated | Energy | Received Energy C | EcRec(KWh)
Total Import Energy | ERecTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4869 | kWh | [10 empty] | Updated | Energy | Total Received Energy | ERecTot(KWh)
Export Energy A | EaDel | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4915 | kWh | [10 empty] | Updated | Energy | Delivered Energy A | EaDel(KWh)
Export Energy B | EbDel | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4917 | kWh | [10 empty] | Updated | Energy | Delivered Energy B | EbDel(KWh)
Export Energy C | EcDel | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4919 | kWh | [10 empty] | Updated | Energy | Delivered Energy C | EcDel(KWh)
Total Export Energy | EDelTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4871 | kWh | [10 empty] | Updated | Energy | Total Delivered Energy | EDelTot(KWh)
Net Total Energy A | EaNetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4897 | kWh | [10 empty] | Updated | Energy | Net Energy A | EaNetTot(KWh)
Net Total Energy B | EbNetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4899 | kWh | [10 empty] | Updated | Energy | Net Energy B | EbNetTot(KWh)
Net Total Energy C | EcNetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4901 | kWh | [10 empty] | Updated | Energy | Net Energy C | EcNetTot(KWh)
Net Total Energy | ENetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kWh |  |  |  |  | FLOAT | 4865 | kWh | [10 empty] | Updated | Energy | Total Net Energy | ENetTot(KWh)
Total Inductive Energy | ErePosTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | kvarh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kvarh |  |  |  |  | FLOAT | 4885 | kvarh | [10 empty] | Updated | Energy | Total Inductive Energy | ErePosTot(kvarh)
Total Capacitive Energy | EreNegTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | kvarh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kvarh |  |  |  |  | FLOAT | 4887 | kvarh | [10 empty] | Updated | Energy | Total Capacitive Energy | EreNegTot(kvarh)
Apparent Energy A | EapaTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVAh |  |  |  |  | FLOAT | 4903 | kVAh | [10 empty] | Updated | Energy | Apparent Energy A | EapaTot(KVAh)
Apparent Energy B | EapbTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVAh |  |  |  |  | FLOAT | 4905 | kVAh | [10 empty] | Updated | Energy | Apparent Energy B | EapbTot(KVAh)
Apparent Energy C | EapcTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVAh |  |  |  |  | FLOAT | 4907 | kVAh | [10 empty] | Updated | Energy | Apparent Energy C | EapcTot(KVAh)
Total Apparent Energy | EapTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | ELKOR | WattsOn | http://www.elkor.net/pdfs/WattsOn-Mark_II_Datasheet.pdf | Energy | 0.2% |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | kVAh |  |  |  |  | FLOAT | 4867 | kVAh | [10 empty] | Updated | Energy | Total Apparent Energy | EapTot(KVAh)
Description | WattsOn Mk2 Meter |  |  | Maker | ELKOR Technologies Inc |  |  | BigEndianFloats
<end row - only here due to csvimport.m> | 48

## PQube3PF
Description | Filename | Latitude | Longitude | AirportCode | PlaceName | UtilityName | StationName | Make | Model | SpecSheetURL | TypeOfMeasurement | Accuracy | Resolution | Units | DeviceRangeMax | DeviceRangeMin | DeviceInstallationDate | Type | TypeDescription | Make | Model | Year | DateInstalled | URLOfQAReport | URLOfDataLicense | DataProvider | QAProvider | CopyrightHolder | URI | time | value | SamplingRate | Scale | Offset | Units | RangeMax | RangeMin | TheoreticalRangeMax | TheoreticalRangeMin | ChannelName | OriginalChannelName | OriginalUnits | DailyMin | DailyMax | DailyMean | DailyStdDev | MonthlyMin | MonthlyMax | MonthlyMean | MonthlyStdDev | StartTime | Length | AUX_GroupType | AUX_Group | AUX_Description | AUX_LastSampleLabel
Voltage A-N | Van | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Voltage |  |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 9009 | V | [10 empty] | Updated | Voltage | Van(V) | Van(V)
Voltage B-N | Vbn | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Voltage |  |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 9011 | V | [10 empty] | Updated | Voltage | Vbn(V) | Vbn(V)
Voltage C-N | Vcn | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Voltage |  |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 9013 | V | [10 empty] | Updated | Voltage | Vcn(V) | Vcn(V)
Voltage A-B | Vab | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Voltage |  |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 9015 | V | [10 empty] | Updated | Voltage | Vab(V) | Vab(V)
Voltage B-C | Vbc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Voltage |  |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 9017 | V | [10 empty] | Updated | Voltage | Vbc(V) | Vbc(V)
Voltage A-C | Vca | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Voltage |  |  | V | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | V |  |  |  |  | FLOAT | 9019 | V | [10 empty] | Updated | Voltage | Vca(V) | Vca(V)
Frequency | F | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Frequency |  |  | Hz | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | Hz |  |  |  |  | FLOAT | 9021 | Hz | [10 empty] | Updated | Power Quality | F(Hz) | F(Hz)
Current A | Ia | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Current |  |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 11001 | A | [10 empty] | Updated | Current | Ia(A) | Ia(A)
Current B | Ib | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Current |  |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 11003 | A | [10 empty] | Updated | Current | Ib(A) | Ib(A)
Current C | Ic | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Current |  |  | A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | A |  |  |  |  | FLOAT | 11005 | A | [10 empty] | Updated | Current | Ic(A) | Ic(A)
Total Active Power | PTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kW |  |  |  |  | FLOAT | 11837 | kW | [10 empty] | Updated | Power | P(kW) | PTot(kW)
Active Power A | Pa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kW |  |  |  |  | FLOAT | 11839 | kW | [10 empty] | Updated | Power | Pa(kW) | Pa(kW)
Active Power B | Pb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kW |  |  |  |  | FLOAT | 11841 | kW | [10 empty] | Updated | Power | Pb(kW) | Pb(kW)
Active Power C | Pc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kW |  |  |  |  | FLOAT | 11843 | kW | [10 empty] | Updated | Power | Pc(kW) | Pc(kW)
Total Reactive Power | QTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kvar |  |  |  |  | FLOAT | 11845 | kvar | [10 empty] | Updated | Power | Q(kvar) | QTot(kvar)
Reactive Power A | Qa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kvar |  |  |  |  | FLOAT | 11847 | kvar | [10 empty] | Updated | Power | Qa(kvar) | Qa(kvar)
Reactive Power B | Qb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kvar |  |  |  |  | FLOAT | 11849 | kvar | [10 empty] | Updated | Power | Qb(kvar) | Qb(kvar)
Reactive Power C | Qc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kvar | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kvar |  |  |  |  | FLOAT | 11851 | kvar | [10 empty] | Updated | Power | Qc(kvar) | Qc(kvar)
Total Apparent Power | STot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVA |  |  |  |  | FLOAT | 11853 | kVA | [10 empty] | Updated | Power | S(VA) | STot(kVA)
Apparent Power A | Sa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVA |  |  |  |  | FLOAT | 11855 | kVA | [10 empty] | Updated | Power | Sa(kW) | Sa(kVA)
Apparent Power B | Sb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVA |  |  |  |  | FLOAT | 11857 | kVA | [10 empty] | Updated | Power | Sb(kW) | Sb(kVA)
Apparent Power C | Sc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVA |  |  |  |  | FLOAT | 11859 | kVA | [10 empty] | Updated | Power | Sc(kW) | Sc(kVA)
Total Power Factor | PfTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | N/A |  |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 11861 | N/A | [10 empty] | Updated | Power | Power Factor | PfTot
Power Factor A | Pfa | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | N/A |  |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 11863 | N/A | [10 empty] | Updated | Power | Power Factor A | Pfa
Power Factor B | Pfb | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | N/A |  |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 11865 | N/A | [10 empty] | Updated | Power | Power Factor B | Pfb
Power Factor C | Pfc | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | N/A |  |  | N/A | [11 empty] | ACEP |  | ACEP |  |  |  |  | 1 | 0 | N/A |  |  |  |  | FLOAT | 11867 | N/A | [10 empty] | Updated | Power | Power Factor C | Pfc
Net Total Energy | ENetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11877 | kWh | [10 empty] | Updated | Energy | Total Net Energy | ENetTot(kWh)
Net Total Energy A | EaNetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11879 | kWh | [10 empty] | Updated | Energy | Net Energy A | EaNetTot(kWh)
Net Total Energy B | EbNetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11881 | kWh | [10 empty] | Updated | Energy | Net Energy B | EbNetTot(kWh)
Net Total Energy C | EcNetTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11883 | kWh | [10 empty] | Updated | Energy | Net Energy C | EcNetTot(KWh)
Total Apparent Energy | EapTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVAh |  |  |  |  | FLOAT | 11885 | kVAh | [10 empty] | Updated | Energy | Total Apparent Energy | EapTot(KVAh)
Apparent Energy A | EapaTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVAh |  |  |  |  | FLOAT | 11887 | kVAh | [10 empty] | Updated | Energy | Apparent Energy A | EapaTot(KVAh)
Apparent Energy B | EapbTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVAh |  |  |  |  | FLOAT | 11889 | kVAh | [10 empty] | Updated | Energy | Apparent Energy B | EapbTot(KVAh)
Apparent Energy C | EapcTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KVAh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVAh |  |  |  |  | FLOAT | 11891 | kVAh | [10 empty] | Updated | Energy | Apparent Energy C | EapcTot(KVAh)
Peak Apparemt Power 15 Minute | SPeak | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kVA | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kVA |  |  |  |  | FLOAT | 11897 | kVA | [10 empty] | Updated | Power | SPeak(kW) | SPeak(kVA)
Peak Power 15 Minute | PPeak | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Power |  |  | kW | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kW |  |  |  |  | FLOAT | 11903 | kW | [10 empty] | Updated | Power | PPeak(kW) | PPeak(kW)
Total Import Energy | ERecTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11923 | kWh | [10 empty] | Updated | Energy | Total Received Energy | ERecTot(KWh)
Import Energy A | EaRec | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11925 | kWh | [10 empty] | Updated | Energy | Received Energy A | EaRec(KWh)
Import Energy B | EbRec | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11927 | kWh | [10 empty] | Updated | Energy | Received Energy B | EbRec(KWh)
Import Energy C | EcRec | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11929 | kWh | [10 empty] | Updated | Energy | Received Energy C | EcRec(KWh)
Total Export Energy | EDelTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11931 | kWh | [10 empty] | Updated | Energy | Total Delivered Energy | EDelTot(KWh)
Export Energy A | EaDel | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11933 | kWh | [10 empty] | Updated | Energy | Delivered Energy A | EaDel(KWh)
Export Energy B | EbDel | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11935 | kWh | [10 empty] | Updated | Energy | Delivered Energy B | EbDel(KWh)
Export Energy C | EcDel | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | KWh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kWh |  |  |  |  | FLOAT | 11937 | kWh | [10 empty] | Updated | Energy | Delivered Energy C | EcDel(KWh)
Total Inductive Energy | ErePosTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | kvarh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kvarh |  |  |  |  | FLOAT | 12203 | kvarh | [10 empty] | Updated | Energy | Total Inductive Energy | ErePosTot(kvarh)
Total Capacitive Energy | EreNegTot | 65.1252 | -147.4878 | FAI | PokerFlatResearchRange | GVEA | PokerFlat | PSL | PQube 3 |  | Energy |  |  | kvarh | [11 empty] | ACEP |  | ACEP |  |  |  |  | 0.001 | 0 | kvarh |  |  |  |  | FLOAT | 12211 | kvarh | [10 empty] | Updated | Energy | Total Capacitive Energy | EreNegTot(kvarh)
Description | PQube 3 |  |  | Maker | PSL |  |  | BigEndianFloats
MaxQuery | 125
Maker | PSL
MachineOptions | BigEndianFloats
<end row - only here due to csvimport.m> | 46

## Network
Device Class | ObjectName | IP Address | MB Slave Address
Shark100 | Load1 | 10.0.7.100 | 100
Shark100 | Load2 | 10.0.7.101 | 101
Shark100 | InvCtrl | 10.0.6.204 | 204
Shark100 | Wtg | 10.0.7.102 | 3
Shark100 | PVE | 10.0.9.100 | 1
WattsOn | Load2wo | 10.0.6.201 | 3
WattsOn | Gen | 10.0.6.202 | 2
WattsOn | BusMeter | 10.0.6.210 | 5
Elspec | Load1elspec | 10.0.8.1 | 159
Esenet | Genesegen | 10.0.0.10 | 1
ABBPCS100Inv | ABBInverter | 10.0.3.10 | 1
BMS | ETFBMS | 10.0.3.111 | 1
Fronius | FroniusSymo | 10.0.9.2 | 1
KralVolumeter | FuelMeter | 10.0.0.20 | 1
Shark100 | InvOut | 10.0.6.203 | 203
Shark100 | NWBus | 10.0.3.50 | 1
Shark100 | OceanaInverter | 10.0.9.30 | 1
AC500Pro | AC500Pro | 10.0.9.10 | 1
ACS355 | ACS355 | 10.0.9.20 | 1
PQube | PQube3 | 10.0.9.60 | 1
<end row - only here due to csvimport.m>

## Networkv2
DeviceClass | ObjectName | IPAddress | ModbusSlaveAddress | Application | Enabled | Broadcast | SampleLimit | ReconnectRate
Shark100 | Load1 | 10.0.7.100 | 100 | ETF | T | T | 0 | 0
Shark100 | Load2 | 10.0.7.101 | 101 | ETF | T | T | 0 | 0
Shark100 | InvCtrl | 10.0.6.204 | 204 | ETF | T | T | 0 | 0
Shark100 | Wtg | 10.0.7.102 | 3 | ETF | T | T | 0 | 0
Shark100 | PVE | 10.0.9.100 | 1 | ETF | T | T | 0 | 0
WattsOn | Load2wo | 10.0.6.201 | 3 | ETF | T | T | 0 | 0
WattsOn | Gen | 10.0.6.202 | 2 | ETF | T | T | 0 | 0
WattsOn | BusMeter | 10.0.6.210 | 5 | ETF | T | T | 0 | 0
Elspec | Load1elspec | 10.0.8.1 | 159 | ETF | T | T | 0 | 0
Esenet | Genesegen | 10.0.0.10 | 1 | ETF | T | T | 0 | 0
ABBPCS100Inv | ABBInverter | 10.0.3.10 | 1 | ETF | T | T | 0 | 0
BMS | ETFBMS | 10.0.3.111 | 1 | ETF | T | T | 100 | 0
Fronius | FroniusSymo | 10.0.9.2 | 1 | ETF | T | T | 0 | 0
KralVolumeter | FuelMeter | 10.0.0.20 | 1 | ETF | T | T | 0 | 0
Shark100 | InvOut | 10.0.6.203 | 203 | ETF | T | T | 0 | 0
Shark100 | NWBus | 10.0.3.50 | 1 | ETF | T | T | 0 | 0
Shark100 | OceanaInverter | 10.0.9.30 | 1 | ETF | F | T | 0 | 0
IdealPwrInv | IdealPwrInv | 10.0.9.40 | 240 | ETF | F | T | 0 | 0
AC500Pro | FEPLC | 10.0.9.10 | 1 | ETF | T | T | 100 | 0
PQube3ETF | FEPQube3 | 10.0.9.60 | 1 | ETF | T | T | 0 | 0
WattsOnMk2 | PkFltM1Ant | 137.229.18.81 | 1 | PF | T | F | 0 | 0
WattsOnMk2 | PkFltM2Tel | 137.229.18.82 | 1 | PF | T | F | 0 | 0
WattsOnMk2 | PkFltM3Sci | 137.229.18.83 | 1 | PF | T | F | 0 | 0
PQube3PF | PFPQube3 | 137.229.18.56 | 1 | PF | T | F | 0 | 0
EOF

## Changelog
Version | Date | Author | Description
1 | 2014-08-07 | Luis Miranda | Created the file generation matrix and inserted the Shark100 info
2 | 2014-08-11 | Luis Miranda | Created the sheet for the WattsOn
3 | 2014-09-11 | Luis Miranda | Changed the relevant variables to prepared to obey ACEP's developed naming standard
Also edited all the units of power and energy from SI (W Wh) to k SI (kW kWh) and changed their scale to 1/1000 to ensure data consistency
4 | 2014-10-08 | Luis Miranda | Started the ELSPEC Meter Page
4.1 | 2014-10-08 | Luis Miranda | Filled out the WattsOn Meters Scale and offset to be able to automatically plot data with appropriate scale and offset corresponding to the labeled units
5 | 2014-10-13 | Luis Miranda | Added the Esenet Page
5.1 | 2014-11-25 | Luis Miranda | Adding 4 columns, to categorize the variables in each meter, to be able to create the hiererchical struture displayed in the tree of the overview plot(started with Shark100)
5.2 | 2015-02-12 | Luis Miranda | Added the ABBInv, with all of the available data, not all this data might be suitable for data collection
5.3 | 2015-09-24 | Luis Miranda | Edited the Descriptions, added the Ideal Power Inverter
5.4 | 2016-03-10 | Luis Miranda | Added the Sunspec alliance - Fronius PV Inverter
5.5 | 2016-08-03 | Luis Miranda | Added a Network tab, to aid automatic C code generation in DA and SC Modules
5.6 | 2016-08-31 | Luis Miranda | Finished the KralVolumeter
5.61 | 2017-02-27 | Luis Miranda | Altered the way the number of ACTIVE variable being recorded are considered, counting only valid Data types, instead of unique filename. This way we can add/remove variables easily by adding a "NOT" to the data type.
5.7 | 2017-08-02 | Luis Miranda | Updated the Shark100 to swap the floats so the first float's decimal part is not cut
5.8 | 2017-10-05 | Asher Simmons; Rob Cermak | Adding three sensors AC500PRO(PLC data) and IdealPwrInv. There was a shark100 meter that has already been defined. It will be checked for other needed variables.
6 | 2018-03-07 | Rob Cermak | Split PQube3 into two locations PF=Poker Flat RR; ETF=Energy Tech Fac
6.1 | 2018-07-30 | Rob Cermak | Preparing rewrite of data acquisition software (DAQ); Update Networkv2 to reflect needed components.